{"text_format":"3","workbook":"xls","n_sheets":17,"sheets":["工程量清单","工程项目造价汇总表","工程项目造价汇总表(含分项)","单项工程造价汇总表","单项工程造价汇总表(含分项)","单位工程造价汇总表","单位工程造价汇总表(含细项)","分部分项工程量清单与计价表","分部分项工程量清单与计价表(含定额)","总价措施项目清单与计价表","单价措施项目清单与计价表","单价措施项目清单与计价表(含定额)","其他项目清单与计价汇总表","暂列金额明细表","专业工程暂估价明细表","总承包服务费计价表","甲供材料一览表"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"工程量清单","index":0,"n_rows":28,"n_cols":5,"rows_kept":28,"merged":[[0,0,0,4],[1,0,1,4],[2,0,2,4],[3,0,3,4],[4,0,4,4],[5,0,5,4],[6,0,6,4],[7,0,7,4],[8,0,8,4],[9,0,9,4],[10,0,10,4],[13,0,13,4],[14,0,14,4],[15,0,15,4],[18,0,18,4],[19,0,19,4],[20,0,20,4],[21,1,21,4],[22,1,22,4],[23,0,23,4],[24,0,24,4],[25,0,25,4],[26,0,26,2],[26,3,26,4],[27,0,29,4]],"flags":["formulas_cached_only"]}
[""]
[""]
["1号楼6层检验科库房改造工程"]
[""]
[""]
["工 程 量 清 单"]
[""]
[""]
[""]
[""]
[""]
["招  标  人:","","","造价咨询人:",""]
["","(单位盖章)","","","(单位盖章或资质专用章)"]
[""]
[""]
[""]
["法定代表人\r\n或其授权人:","","","法定代表人\r\n或其授权人:",""]
["","(签字或盖章)","","","(签字或盖章)"]
[""]
[""]
[""]
["造价工程师:",""]
["","(签字盖专用章)"]
[""]
[""]
[""]
["编制时间：",null,null,"2019年06月28日"]
[""]

{"sheet":"工程项目造价汇总表","index":1,"n_rows":7,"n_cols":4,"rows_kept":7,"merged":[[0,0,0,3],[1,0,1,3],[2,0,2,3],[3,0,3,2],[6,0,6,1]],"flags":["formulas_cached_only"]}
[""]
[""]
["工程项目造价汇总表"]
["工程名称:1号楼6层检验科库房改造",null,null,"第1页 共1页"]
["序号","单项工程名称","金额(元)","其中:\r\n安全文明施工费(元)"]
["1","单项工程"]
["合  计"]

{"sheet":"工程项目造价汇总表(含分项)","index":2,"n_rows":12,"n_cols":5,"rows_kept":12,"merged":[[0,1,0,4],[1,1,1,4],[2,0,2,4],[3,0,3,3],[4,3,4,4],[5,3,5,4],[6,3,6,4],[7,3,7,4],[8,3,8,4],[9,3,9,4],[10,3,10,4],[11,0,11,1],[11,3,11,4]],"flags":["formulas_cached_only"]}
["",""]
["",""]
["工程项目造价汇总表"]
["工程名称:1号楼6层检验科库房改造",{"$nulls":3},"第1页 共1页"]
["序号","单项工程名称","金额(元)","其中:安全文明施工费(元)"]
["1","单项工程"]
["1.1","    房屋建筑与装饰工程"]
["","        拆除部分"]
["","        装饰"]
["1.2","    安装工程"]
["","        电气工程"]
["合  计"]

{"sheet":"单项工程造价汇总表","index":3,"n_rows":8,"n_cols":4,"rows_kept":8,"merged":[[0,0,0,3],[1,0,1,3],[2,0,2,3],[3,0,3,2],[7,0,7,1]],"flags":["formulas_cached_only"]}
[""]
["单项工程造价汇总表"]
[""]
["工程名称：1号楼6层检验科库房改造  单项工程",null,null,"第1页 共1页"]
["序号","单位工程名称","金额(元)"," 其中:\r\n安全文明施工费(元)"]
["1","房屋建筑与装饰工程"]
["2","安装工程"]
["合        计"]

{"sheet":"单项工程造价汇总表(含分项)","index":4,"n_rows":11,"n_cols":5,"rows_kept":11,"merged":[[0,2,0,3],[1,0,1,4],[2,0,2,4],[3,0,3,3],[4,1,4,2],[5,1,5,2],[6,1,6,2],[7,1,7,2],[8,1,8,2],[9,1,9,2],[10,0,10,2]],"flags":["formulas_cached_only"]}
["","","",null,""]
["单项工程造价汇总表"]
[""]
["工程名称：1号楼6层检验科库房改造  单项工程",{"$nulls":3},"第1页 共1页"]
["序号","单位工程名称",null,"金额(元)","其中:\r\n安全文明施工费\r\n(元)"]
["1","房屋建筑与装饰工程"]
["","    拆除部分"]
["","    装饰"]
["2","安装工程"]
["","    电气工程"]
["合        计"]

{"sheet":"单位工程造价汇总表","index":5,"n_rows":33,"n_cols":3,"rows_kept":33,"merged":[[0,0,0,2],[1,0,1,2],[2,0,2,1],[16,0,16,1],[17,0,17,2],[18,0,18,2],[19,0,19,1],[32,0,32,1]],"flags":["formulas_cached_only"]}
["单位工程造价汇总表"]
[""]
["工程名称：1号楼6层检验科库房改造  单项工程  房屋建筑与装饰工程",null,"第1页 共2页"]
["序号","汇 总 内 容","金 额(元)"]
["1","分部分项工程费"]
["1.1","拆除部分"]
["1.2","装饰"]
["2","措施项目费"]
["2.1","总价措施项目费"]
["2.1.1","安全文明施工费"]
["2.1.2","其他总价措施费"]
["2.2","单价措施项目费"]
["3","其他项目费"]
["3.1","暂列金额"]
["3.2","专业工程暂估价"]
["3.3","总承包服务费"]
["合  计=1+2+3"]
["单位工程造价汇总表"]
[""]
["工程名称：1号楼6层检验科库房改造  单项工程  安装工程",null,"第2页 共2页"]
["序号","汇 总 内 容","金 额(元)"]
["1","分部分项工程费"]
["1.1","电气工程"]
["2","措施项目费"]
["2.1","总价措施项目费"]
["2.1.1","安全文明施工费"]
["2.1.2","其他总价措施费"]
["2.2","单价措施项目费"]
["3","其他项目费"]
["3.1","暂列金额"]
["3.2","专业工程暂估价"]
["3.3","总承包服务费"]
["合  计=1+2+3"]

{"sheet":"单位工程造价汇总表(含细项)","index":6,"n_rows":51,"n_cols":5,"rows_kept":51,"merged":[[0,0,0,4],[1,0,1,4],[2,0,2,3],[26,0,26,4],[27,0,27,4],[28,0,28,3]],"flags":["formulas_cached_only"]}
["单位工程造价汇总表"]
[""]
["工程名称：1号楼6层检验科库房改造  单项工程  房屋建筑与装饰工程",{"$nulls":3},"第1页 共2页"]
["序号","汇 总 内 容","计算基数","费率(%)","金 额(元)"]
["1","分部分项工程费","",0]
["1.1","拆除部分","",0]
["1.2","装饰","",0]
["2","措施项目费","",0]
["2.1","总价措施项目费","",0]
["2.1.1","安全文明施工费","",0]
["2.1.2","其他总价措施费","",0]
["2.2","单价措施项目费","",0]
["3","其他项目费","",0]
["3.1","暂列金额","",0]
["3.2","专业工程暂估价","",0]
["3.3","总承包服务费","",0]
["4","总造价","",0]
["","人工费合计","",0]
["","材料费合计","",0]
["","其中工程设备费合计","",0]
["","其中甲供材料费含税合计","",0]
["","施工机具使用费","",0]
["","企业管理费合计","",0]
["","利润合计","",0]
["","规费合计","",0]
["","税金合计","",0]
["单位工程造价汇总表"]
[""]
["工程名称：1号楼6层检验科库房改造  单项工程  安装工程",{"$nulls":3},"第2页 共2页"]
["序号","汇 总 内 容","计算基数","费率(%)","金 额(元)"]
["1","分部分项工程费","",0]
["1.1","电气工程","",0]
["2","措施项目费","",0]
["2.1","总价措施项目费","",0]
["2.1.1","安全文明施工费","",0]
["2.1.2","其他总价措施费","",0]
["2.2","单价措施项目费","",0]
["3","其他项目费","",0]
["3.1","暂列金额","",0]
["3.2","专业工程暂估价","",0]
["3.3","总承包服务费","",0]
["4","总造价","",0]
["","人工费合计","",0]
["","材料费合计","",0]
["","其中工程设备费合计","",0]
["","其中甲供材料费含税合计","",0]
["","施工机具使用费","",0]
["","企业管理费合计","",0]
["","利润合计","",0]
["","规费合计","",0]
["","税金合计","",0]

{"sheet":"分部分项工程量清单与计价表","index":7,"n_rows":55,"n_cols":12,"rows_kept":55,"merged":[[0,0,0,10],[1,0,1,10],[2,0,2,8],[2,9,2,10],[3,0,4,1],[3,2,4,3],[3,4,4,4],[3,5,4,5],[3,6,4,6],[3,7,4,7],[3,8,3,10],[4,8,4,9],[5,0,5,10],[6,0,6,10],[7,0,7,10],[8,0,8,1],[8,2,8,3],[8,8,8,9],[9,0,9,1],[9,2,9,3],[9,8,9,9],[10,0,10,1],[10,2,10,3],[10,8,10,9],[11,0,11,10],[12,0,12,1],[12,2,12,3],[12,8,12,9],[13,0,13,1],[13,2,13,3],[13,8,13,9],[14,0,14,1],[14,2,14,3],[14,8,14,9],[15,0,15,1],[15,2,15,3],[15,8,15,9],[16,0,16,1],[16,2,16,3],[16,8,16,9],[17,0,17,1],[17,2,17,3],[17,8,17,9],[18,0,18,1],[18,2,18,3],[18,8,18,9],[19,0,19,1],[19,2,19,3],[19,8,19,9],[20,0,20,1],[20,2,20,3],[20,8,20,9],[21,0,21,10],[22,0,22,10],[23,0,23,8],[23,9,23,10],[24,0,25,1],[24,2,25,3],[24,4,25,4],[24,5,25,5],[24,6,25,6],[24,7,25,7],[24,8,24,10],[25,8,25,9],[26,0,26,1],[26,2,26,3],[26,8,26,9],[27,0,27,10],[28,0,28,10],[29,0,29,1],[29,2,29,3],[29,8,29,9],[30,0,30,1],[30,2,30,3],[30,8,30,9],[31,0,31,1],[31,2,31,3],[31,8,31,9],[32,0,32,1],[32,2,32,3],[32,8,32,9],[33,0,33,1],[33,2,33,3],[33,8,33,9],[34,0,34,1],[34,2,34,3],[34,8,34,9],[35,0,35,1],[35,2,35,3],[35,8,35,9],[36,0,36,1],[36,2,36,3],[36,8,36,9],[37,0,37,1],[37,2,37,3],[37,8,37,9],[38,0,38,1],[38,2,38,3],[38,8,38,9],[39,0,39,1],[39,2,39,3],[39,8,39,9],[40,0,40,1],[40,2,40,3],[40,8,40,9],[41,0,41,1],[41,2,41,3],[41,8,41,9],[42,0,42,1],[42,2,42,3],[42,8,42,9],[43,0,43,1],[43,2,43,3],[43,8,43,9],[44,0,44,1],[44,2,44,3],[44,8,44,9],[45,0,45,1],[45,2,45,3],[45,8,45,9],[46,0,46,1],[46,2,46,3],[46,8,46,9],[47,0,47,1],[47,2,47,3],[47,8,47,9],[48,0,48,1],[48,2,48,3],[48,8,48,9],[49,0,49,10],[50,0,50,10],[51,0,51,8],[51,9,51,10],[52,0,53,1],[52,2,53,3],[52,4,53,4],[52,5,53,5],[52,6,53,6],[52,7,53,7],[52,8,52,10],[53,8,53,9],[54,0,54,9]],"flags":["formulas_cached_only"]}
["分部分项工程量清单与计价表",{"$nulls":10},""]
["",{"$nulls":10},""]
["工程名称：1号楼6层检验科库房改造",{"$nulls":8},"第1页 共3页",null,""]
["序号",null,"项目编码",null,"项目名称","项目特征描述","计量单位","工程量","金    额(元)",null,null,""]
[{"$nulls":8},"综合单价",null,"合价",""]
["单项工程",{"$nulls":10},"单项工程(17房屋建筑与装饰)"]
["房屋建筑与装饰工程",{"$nulls":10},"单位工程(17房屋建筑与装饰)"]
["拆除部分",{"$nulls":10},"分项工程(17房屋建筑与装饰)"]
["1",null,"011601001001",null,"砖（石）砌体拆除","(1)拆除墙体","m3",0.504,{"$nulls":3},""]
["2",null,"011608001001",null,"铲除油漆涂料面","(1)拆除原墙面的涂料","m2",{"v":232.9,"d":"232.900"},{"$nulls":3},""]
["3",null,"010103002001",null,"余方弃置","(1)垃圾外运\r\n(2)3km","m3",1.203,{"$nulls":3},""]
["装饰",{"$nulls":10},"分项工程(17房屋建筑与装饰)"]
["4",null,"010402001001",null,"砌块墙","(1)200mm厚墙体\r\n(2)蒸压加汽混泥土砌块隔墙","m3",{"v":1.6,"d":"1.600"},{"$nulls":3},""]
["5",null,"010503005001",null,"过梁","(1)现场拌制\r\n(2)C20","m3",0.032,{"$nulls":3},""]
["6",null,"010606005001",null,"钢墙架","(1)1.2厚304拉丝不锈钢\r\n(2)30*30*1.0方钢1500\r\n(3)30*30*1.0方钢@1500","t",0.024,{"$nulls":3},""]
["7",null,"011406001001",null,"抹灰面油漆涂料","(1)防霉抗菌乳胶漆饰面\r\n(2)底漆两遍，面漆两遍\r\n(3)刮腻子两遍\r\n(4)界面处理剂","m2",{"v":137.9,"d":"137.900"},{"$nulls":3},""]
["8",null,"011406001002",null,"抹灰面油漆涂料","(1)防霉抗菌乳胶漆饰面\r\n(2)底漆两遍，面漆两遍\r\n(3)刮腻子两遍\r\n(4)内墙面水泥砂浆一般抹灰(12+6mm厚 砖墙、混凝土墙)","m2",{"v":15.9,"d":"15.900"},{"$nulls":3},""]
["9",null,"010515001001",null,"现浇构件钢筋","(1)现浇构件圆钢筋HPB300以内","t",0.012,{"$nulls":3},""]
["10",null,"011406001003",null,"抹灰面油漆涂料","(1)天棚面刷乳胶漆一底二面\r\n(2)刮腻子两遍","m2",{"v":94.35,"d":"94.350"},{"$nulls":3},""]
["11",null,"010802001001",null,"金属（塑钢）门","(1)铝合金型材门套，钢板喷塑面层（1.2mm厚304不锈钢防撞带）\r\n(2)300*400*5清玻璃观察窗\r\n(3)含闭门器，门碰，门锁等五金配件","m2",{"v":2.1,"d":"2.100"},{"$nulls":3},""]
["12",null,"010802001002",null,"金属（塑钢）门","(1)铝合金型材门套，钢板喷塑面层（1.2mm厚304不锈钢防撞带）\r\n(2)300*400*5清玻璃观察窗","m2",{"v":2.52,"d":"2.520"},{"$nulls":3},""]
["分部分项工程量清单与计价表",{"$nulls":10},""]
["",{"$nulls":10},""]
["工程名称：1号楼6层检验科库房改造",{"$nulls":8},"第2页 共3页",null,""]
["序号",null,"项目编码",null,"项目名称","项目特征描述","计量单位","工程量","金    额(元)",null,null,""]
[{"$nulls":8},"综合单价",null,"合价",""]
["",null,"",null,"","(3)含闭门器，门碰，门锁等五金配件","",{"$nulls":4},""]
["安装工程",{"$nulls":10},"单位工程(17安装)"]
["电气工程",{"$nulls":10},"分项工程(17安装)"]
["13",null,"030404017001",null,"配电箱","(1)成套配电箱 AL","台",{"v":1,"d":"1.000"},{"$nulls":3},""]
["14",null,"030411003001",null,"桥架","(1)钢制桥架 CT-C-200×150\r\n(2)接地","m",{"v":10.58,"d":"10.580"},{"$nulls":3},""]
["15",null,"030413001001",null,"铁构件","(1)电缆桥架支撑架制作、安装","kg",{"v":7.63,"d":"7.630"},{"$nulls":3},""]
["16",null,"030411001001",null,"配管","(1)焊接钢管 SC20 砖、砼结构明敷设\r\n(2)刷油、防腐、接地","m",{"v":182.3,"d":"182.300"},{"$nulls":3},""]
["17",null,"030411001002",null,"配管","(1)焊接钢管 SC25 砖、砼结构明敷设\r\n(2)刷油、防腐、接地","m",{"v":2.98,"d":"2.980"},{"$nulls":3},""]
["18",null,"030413001002",null,"铁构件","(1)一般铁构件制作与安装\r\n(2)防腐油漆","kg",{"v":22.98,"d":"22.980"},{"$nulls":3},""]
["19",null,"030411001003",null,"配管","(1)焊接钢管 SC20 砖、砼结构暗敷设\r\n(2)刷油、防腐、接地","m",{"v":50.5,"d":"50.500"},{"$nulls":3},""]
["20",null,"030411001004",null,"配管","(1)金属软管敷设 DN20 每根长0.5m\r\n(2)接地","m",{"v":5.5,"d":"5.500"},{"$nulls":3},""]
["21",null,"030411004001",null,"配线","(1)管内配线 WDZB-BYJ-2.5","m",{"v":749.02,"d":"749.020"},{"$nulls":3},""]
["22",null,"030411004002",null,"配线","(1)管内配线 WDZB-BYJ-4","m",{"v":26.85,"d":"26.850"},{"$nulls":3},""]
["23",null,"030411004003",null,"配线","(1)槽内配线 WDZB-BYJ-2.5","m",{"v":274.8,"d":"274.800"},{"$nulls":3},""]
["24",null,"030411004004",null,"配线","(1)槽内配线 WDZB-BYJ-4","m",{"v":10.29,"d":"10.290"},{"$nulls":3},""]
["25",null,"030412005001",null,"荧光灯","(1)600×600LED灯盘 36W","套",{"v":11,"d":"11.000"},{"$nulls":3},""]
["26",null,"030404034001",null,"照明开关","(1)单联单控开关 250V/10A","个",{"v":2,"d":"2.000"},{"$nulls":3},""]
["27",null,"030404034002",null,"照明开关","(1)单联双控开关 250V/10A","个",{"v":2,"d":"2.000"},{"$nulls":3},""]
["28",null,"030404035001",null,"插座","(1)二三极五孔插座 250V/10A","个",{"v":21,"d":"21.000"},{"$nulls":3},""]
["29",null,"030411006001",null,"接线盒","(1)明装 接线盒","个",{"v":37,"d":"37.000"},{"$nulls":3},""]
["30",null,"030411006002",null,"接线盒","(1)空白面板安装","个",{"v":37,"d":"37.000"},{"$nulls":3},""]
["31",null,"030411006003",null,"接线盒","(1)暗装 开关盒","个",{"v":25,"d":"25.000"},{"$nulls":3},""]
["32",null,"030413002001",null,"凿(压)槽","(1)配管刨沟及恢复 DN20 砖结构","m",{"v":50.5,"d":"50.500"},{"$nulls":3},""]
["分部分项工程量清单与计价表",{"$nulls":10},""]
["",{"$nulls":10},""]
["工程名称：1号楼6层检验科库房改造",{"$nulls":8},"第3页 共3页",null,""]
["序号",null,"项目编码",null,"项目名称","项目特征描述","计量单位","工程量","金    额(元)",null,null,""]
[{"$nulls":8},"综合单价",null,"合价",""]
["合        计",{"$nulls":10},""]

{"sheet":"分部分项工程量清单与计价表(含定额)","index":8,"n_rows":106,"n_cols":14,"rows_kept":106,"merged":[[0,0,0,12],[1,0,1,12],[2,0,2,10],[2,11,2,12],[3,0,4,1],[3,2,4,3],[3,4,4,4],[3,5,4,6],[3,7,4,8],[3,9,4,9],[3,10,3,12],[4,10,4,11],[5,0,5,12],[6,0,6,12],[7,0,7,12],[8,0,8,1],[8,2,8,3],[8,5,8,6],[8,7,8,8],[8,10,8,11],[9,0,9,1],[9,2,9,3],[9,5,9,6],[9,7,9,8],[9,10,9,11],[10,0,10,1],[10,2,10,3],[10,5,10,6],[10,7,10,8],[10,10,10,11],[11,0,11,1],[11,2,11,3],[11,5,11,6],[11,7,11,8],[11,10,11,11],[12,0,12,1],[12,2,12,3],[12,5,12,6],[12,7,12,8],[12,10,12,11],[13,0,13,1],[13,2,13,3],[13,5,13,6],[13,7,13,8],[13,10,13,11],[14,0,14,1],[14,2,14,3],[14,5,14,6],[14,7,14,8],[14,10,14,11],[15,0,15,12],[16,0,16,1],[16,2,16,3],[16,5,16,6],[16,7,16,8],[16,10,16,11],[17,0,17,1],[17,2,17,3],[17,5,17,6],[17,7,17,8],[17,10,17,11],[18,0,18,1],[18,2,18,3],[18,5,18,6],[18,7,18,8],[18,10,18,11],[19,0,19,1],[19,2,19,3],[19,5,19,6],[19,7,19,8],[19,10,19,11],[20,0,20,1],[20,2,20,3],[20,5,20,6],[20,7,20,8],[20,10,20,11],[21,0,21,1],[21,2,21,3],[21,5,21,6],[21,7,21,8],[21,10,21,11],[22,0,22,1],[22,2,22,3],[22,5,22,6],[22,7,22,8],[22,10,22,11],[23,0,23,1],[23,2,23,3],[23,5,23,6],[23,7,23,8],[23,10,23,11],[24,0,24,1],[24,2,24,3],[24,5,24,6],[24,7,24,8],[24,10,24,11],[25,0,25,1],[25,2,25,3],[25,5,25,6],[25,7,25,8],[25,10,25,11],[26,0,26,1],[26,2,26,3],[26,5,26,6],[26,7,26,8],[26,10,26,11],[27,0,27,1],[27,2,27,3],[27,5,27,6],[27,7,27,8],[27,10,27,11],[28,0,28,1],[28,2,28,3],[28,5,28,6],[28,7,28,8],[28,10,28,11],[29,0,29,1],[29,2,29,3],[29,5,29,6],[29,7,29,8],[29,10,29,11],[30,0,30,12],[31,0,31,12],[32,0,32,10],[32,11,32,12],[33,0,34,1],[33,2,34,3],[33,4,34,4],[33,5,34,6],[33,7,34,8],[33,9,34,9],[33,10,33,12],[34,10,34,11],[35,0,35,1],[35,2,35,3],[35,5,35,6],[35,7,35,8],[35,10,35,11],[36,0,36,1],[36,2,36,3],[36,5,36,6],[36,7,36,8],[36,10,36,11],[37,0,37,1],[37,2,37,3],[37,5,37,6],[37,7,37,8],[37,10,37,11],[38,0,38,1],[38,2,38,3],[38,5,38,6],[38,7,38,8],[38,10,38,11],[39,0,39,1],[39,2,39,3],[39,5,39,6],[39,7,39,8],[39,10,39,11],[40,0,40,1],[40,2,40,3],[40,5,40,6],[40,7,40,8],[40,10,40,11],[41,0,41,1],[41,2,41,3],[41,5,41,6],[41,7,41,8],[41,10,41,11],[42,0,42,1],[42,2,42,3],[42,5,42,6],[42,7,42,8],[42,10,42,11],[43,0,43,1],[43,2,43,3],[43,5,43,6],[43,7,43,8],[43,10,43,11],[44,0,44,1],[44,2,44,3],[44,5,44,6],[44,7,44,8],[44,10,44,11],[45,0,45,1],[45,2,45,3],[45,5,45,6],[45,7,45,8],[45,10,45,11],[46,0,46,1],[46,2,46,3],[46,5,46,6],[46,7,46,8],[46,10,46,11],[47,0,47,1],[47,2,47,3],[47,5,47,6],[47,7,47,8],[47,10,47,11],[48,0,48,1],[48,2,48,3],[48,5,48,6],[48,7,48,8],[48,10,48,11],[49,0,49,1],[49,2,49,3],[49,5,49,6],[49,7,49,8],[49,10,49,11],[50,0,50,12],[51,0,51,12],[52,0,52,1],[52,2,52,3],[52,5,52,6],[52,7,52,8],[52,10,52,11],[53,0,53,1],[53,2,53,3],[53,5,53,6],[53,7,53,8],[53,10,53,11],[54,0,54,1],[54,2,54,3],[54,5,54,6],[54,7,54,8],[54,10,54,11],[55,0,55,1],[55,2,55,3],[55,5,55,6],[55,7,55,8],[55,10,55,11],[56,0,56,1],[56,2,56,3],[56,5,56,6],[56,7,56,8],[56,10,56,11],[57,0,57,1],[57,2,57,3],[57,5,57,6],[57,7,57,8],[57,10,57,11],[58,0,58,1],[58,2,58,3],[58,5,58,6],[58,7,58,8],[58,10,58,11],[59,0,59,1],[59,2,59,3],[59,5,59,6],[59,7,59,8],[59,10,59,11],[60,0,60,1],[60,2,60,3],[60,5,60,6],[60,7,60,8],[60,10,60,11],[61,0,61,1],[61,2,61,3],[61,5,61,6],[61,7,61,8],[61,10,61,11],[62,0,62,12],[63,0,63,12],[64,0,64,10],[64,11,64,12],[65,0,66,1],[65,2,66,3],[65,4,66,4],[65,5,66,6],[65,7,66,8],[65,9,66,9],[65,10,65,12],[66,10,66,11],[67,0,67,1],[67,2,67,3],[67,5,67,6],[67,7,67,8],[67,10,67,11],[68,0,68,1],[68,2,68,3],[68,5,68,6],[68,7,68,8],[68,10,68,11],[69,0,69,1],[69,2,69,3],[69,5,69,6],[69,7,69,8],[69,10,69,11],[70,0,70,1],[70,2,70,3],[70,5,70,6],[70,7,70,8],[70,10,70,11],[71,0,71,1],[71,2,71,3],[71,5,71,6],[71,7,71,8],[71,10,71,11],[72,0,72,1],[72,2,72,3],[72,5,72,6],[72,7,72,8],[72,10,72,11],[73,0,73,1],[73,2,73,3],[73,5,73,6],[73,7,73,8],[73,10,73,11],[74,0,74,1],[74,2,74,3],[74,5,74,6],[74,7,74,8],[74,10,74,11],[75,0,75,1],[75,2,75,3],[75,5,75,6],[75,7,75,8],[75,10,75,11],[76,0,76,1],[76,2,76,3],[76,5,76,6],[76,7,76,8],[76,10,76,11],[77,0,77,1],[77,2,77,3],[77,5,77,6],[77,7,77,8],[77,10,77,11],[78,0,78,1],[78,2,78,3],[78,5,78,6],[78,7,78,8],[78,10,78,11],[79,0,79,1],[79,2,79,3],[79,5,79,6],[79,7,79,8],[79,10,79,11],[80,0,80,1],[80,2,80,3],[80,5,80,6],[80,7,80,8],[80,10,80,11],[81,0,81,1],[81,2,81,3],[81,5,81,6],[81,7,81,8],[81,10,81,11],[82,0,82,1],[82,2,82,3],[82,5,82,6],[82,7,82,8],[82,10,82,11],[83,0,83,1],[83,2,83,3],[83,5,83,6],[83,7,83,8],[83,10,83,11],[84,0,84,1],[84,2,84,3],[84,5,84,6],[84,7,84,8],[84,10,84,11],[85,0,85,1],[85,2,85,3],[85,5,85,6],[85,7,85,8],[85,10,85,11],[86,0,86,1],[86,2,86,3],[86,5,86,6],[86,7,86,8],[86,10,86,11],[87,0,87,1],[87,2,87,3],[87,5,87,6],[87,7,87,8],[87,10,87,11],[88,0,88,1],[88,2,88,3],[88,5,88,6],[88,7,88,8],[88,10,88,11],[89,0,89,1],[89,2,89,3],[89,5,89,6],[89,7,89,8],[89,10,89,11],[90,0,90,1],[90,2,90,3],[90,5,90,6],[90,7,90,8],[90,10,90,11],[91,0,91,1],[91,2,91,3],[91,5,91,6],[91,7,91,8],[91,10,91,11],[92,0,92,1],[92,2,92,3],[92,5,92,6],[92,7,92,8],[92,10,92,11],[93,0,93,1],[93,2,93,3],[93,5,93,6],[93,7,93,8],[93,10,93,11],[94,0,94,1],[94,2,94,3],[94,5,94,6],[94,7,94,8],[94,10,94,11],[95,0,95,1],[95,2,95,3],[95,5,95,6],[95,7,95,8],[95,10,95,11],[96,0,96,1],[96,2,96,3],[96,5,96,6],[96,7,96,8],[96,10,96,11],[97,0,97,12],[98,0,98,12],[99,0,99,10],[99,11,99,12],[100,0,101,1],[100,2,101,3],[100,4,101,4],[100,5,101,6],[100,7,101,8],[100,9,101,9],[100,10,100,12],[101,10,101,11],[102,0,102,1],[102,2,102,3],[102,5,102,6],[102,7,102,8],[102,10,102,11],[103,0,103,1],[103,2,103,3],[103,5,103,6],[103,7,103,8],[103,10,103,11],[104,0,104,1],[104,2,104,3],[104,5,104,6],[104,7,104,8],[104,10,104,11],[105,0,105,11]],"flags":["formulas_cached_only"]}
["分部分项工程量清单与计价表",{"$nulls":12},""]
["",{"$nulls":12},""]
["工程名称：1号楼6层检验科库房改造",{"$nulls":10},"第1页 共4页",null,""]
["序号",null,"项目编码",null,"项目名称","项目特征描述",null,"计量单位",null,"工程量","金    额(元)",null,null,""]
[{"$nulls":10},"综合单价",null,"合价",""]
["单项工程",{"$nulls":12},"单项工程(17房屋建筑与装饰)"]
["房屋建筑与装饰工程",{"$nulls":12},"单位工程(17房屋建筑与装饰)"]
["拆除部分",{"$nulls":12},"分项工程(17房屋建筑与装饰)"]
["1",null,"011601001001",null,"砖（石）砌体拆除","(1)拆除墙体",null,"m3",null,0.504,{"$nulls":3},""]
["1.1",null,"10116001",null,"拆除砖（石）砌体(拆除砌体 标准砖)","",null,"m3",null,0.504,{"$nulls":3},""]
["2",null,"011608001001",null,"铲除油漆涂料面","(1)拆除原墙面的涂料",null,"m2",null,{"v":232.9,"d":"232.900"},{"$nulls":3},""]
["2.1",null,"10116083",null,"铲除油漆涂料裱糊面(清除抹灰面油漆涂料)","",null,"m2",null,{"v":232.9,"d":"232.900"},{"$nulls":3},""]
["3",null,"010103002001",null,"余方弃置","(1)垃圾外运\r\n(2)3km",null,"m3",null,1.203,{"$nulls":3},""]
["3.1",null,"10101042",null,"人工装车(土方)","",null,"m3",null,1.203,{"$nulls":3},""]
["3.2",null,"10101084T",null,"自卸汽车运土(载重10t以内 运距10km以内)","",null,"m3",null,1.203,{"$nulls":3},""]
["装饰",{"$nulls":12},"分项工程(17房屋建筑与装饰)"]
["4",null,"010402001001",null,"砌块墙","(1)200mm厚墙体\r\n(2)蒸压加汽混泥土砌块隔墙",null,"m3",null,{"v":1.6,"d":"1.600"},{"$nulls":3},""]
["4.1",null,"10104017",null,"砌块砌体(蒸压加气混凝土砌块墙 现拌砂浆200mm厚以内)","",null,"m3",null,{"v":1.6,"d":"1.600"},{"$nulls":3},""]
["5",null,"010503005001",null,"过梁","(1)现场拌制\r\n(2)C20",null,"m3",null,0.032,{"$nulls":3},""]
["5.1",null,"10105020T",null,"C20现拌普通混凝土(过梁)","",null,"m3",null,0.032,{"$nulls":3},""]
["5.2",null,"10105059",null,"搅拌机拌制混凝土调整费","",null,"m3",null,0.032,{"$nulls":3},""]
["6",null,"010606005001",null,"钢墙架","(1)1.2厚304拉丝不锈钢\r\n(2)30*30*1.0方钢1500\r\n(3)30*30*1.0方钢@1500",null,"t",null,0.024,{"$nulls":3},""]
["6.1",null,"10106004T",null,"金属构件制作(零星钢构件制作)","",null,"t",null,0.024,{"$nulls":3},""]
["6.2",null,"10112242T",null,"墙面饰面(不锈钢面板 墙面)","",null,"m2",null,{"v":0.9,"d":"0.900"},{"$nulls":3},""]
["7",null,"011406001001",null,"抹灰面油漆涂料","(1)防霉抗菌乳胶漆饰面\r\n(2)底漆两遍，面漆两遍\r\n(3)刮腻子两遍\r\n(4)界面处理剂",null,"m2",null,{"v":137.9,"d":"137.900"},{"$nulls":3},""]
["7.1",null,"10114133T",null,"乳胶漆(室内 墙面 二遍)","",null,"m2",null,{"v":137.9,"d":"137.900"},{"$nulls":3},""]
["7.2",null,"10112061",null,"界面剂、铺网(加气混凝土专用界面剂)","",null,"m2",null,{"v":137.9,"d":"137.900"},{"$nulls":3},""]
["8",null,"011406001002",null,"抹灰面油漆涂料","(1)防霉抗菌乳胶漆饰面\r\n(2)底漆两遍，面漆两遍\r\n(3)刮腻子两遍\r\n(4)内墙面水泥砂浆一般抹灰(12+6mm厚 砖墙、混凝土墙)",null,"m2",null,{"v":15.9,"d":"15.900"},{"$nulls":3},""]
["8.1",null,"10114133T",null,"乳胶漆(室内 墙面 二遍)","",null,"m2",null,{"v":15.9,"d":"15.900"},{"$nulls":3},""]
["8.2",null,"10112001",null,"内墙面水泥砂浆一般抹灰(12","",null,"m2",null,{"v":15.9,"d":"15.900"},{"$nulls":3},""]
["分部分项工程量清单与计价表",{"$nulls":12},""]
["",{"$nulls":12},""]
["工程名称：1号楼6层检验科库房改造",{"$nulls":10},"第2页 共4页",null,""]
["序号",null,"项目编码",null,"项目名称","项目特征描述",null,"计量单位",null,"工程量","金    额(元)",null,null,""]
[{"$nulls":10},"综合单价",null,"合价",""]
["",null,"",null,"+6mm厚 砖墙、混凝土墙)","",null,"",{"$nulls":5},""]
["9",null,"010515001001",null,"现浇构件钢筋","(1)现浇构件圆钢筋HPB300以内",null,"t",null,0.012,{"$nulls":3},""]
["9.1",null,"10105065",null,"现浇构件圆钢筋HPB300以内(直径≤10mm)","",null,"t",null,0.012,{"$nulls":3},""]
["10",null,"011406001003",null,"抹灰面油漆涂料","(1)天棚面刷乳胶漆一底二面\r\n(2)刮腻子两遍",null,"m2",null,{"v":94.35,"d":"94.350"},{"$nulls":3},""]
["10.1",null,"10114134T",null,"乳胶漆(室内 天棚面 二遍)","",null,"m2",null,{"v":94.35,"d":"94.350"},{"$nulls":3},""]
["11",null,"010802001001",null,"金属（塑钢）门","(1)铝合金型材门套，钢板喷塑面层（1.2mm厚304不锈钢防撞带）\r\n(2)300*400*5清玻璃观察窗\r\n(3)含闭门器，门碰，门锁等五金配件",null,"m2",null,{"v":2.1,"d":"2.100"},{"$nulls":3},""]
["11.1",null,"10108023T",null,"塑钢门(塑钢平开门)","",null,"m2",null,{"v":2.1,"d":"2.100"},{"$nulls":3},""]
["11.2",null,"10108110",null,"门窗特殊五金(闭门器 暗装)","",null,"个",null,{"v":1,"d":"1.000"},{"$nulls":3},""]
["11.3",null,"10108108",null,"门窗特殊五金(门吸)","",null,"个",null,{"v":1,"d":"1.000"},{"$nulls":3},""]
["11.4",null,"10108111",null,"门窗特殊五金(执手锁)","",null,"个",null,{"v":1,"d":"1.000"},{"$nulls":3},""]
["12",null,"010802001002",null,"金属（塑钢）门","(1)铝合金型材门套，钢板喷塑面层（1.2mm厚304不锈钢防撞带）\r\n(2)300*400*5清玻璃观察窗\r\n(3)含闭门器，门碰，门锁等五金配件",null,"m2",null,{"v":2.52,"d":"2.520"},{"$nulls":3},""]
["12.1",null,"10108024T",null,"塑钢门(塑钢推拉门)","",null,"m2",null,{"v":2.52,"d":"2.520"},{"$nulls":3},""]
["12.2",null,"10108110",null,"门窗特殊五金(闭门器 暗装)","",null,"个",null,{"v":2,"d":"2.000"},{"$nulls":3},""]
["12.3",null,"10108108",null,"门窗特殊五金(门吸)","",null,"个",null,{"v":2,"d":"2.000"},{"$nulls":3},""]
["12.4",null,"10108111",null,"门窗特殊五金(执手锁)","",null,"个",null,{"v":2,"d":"2.000"},{"$nulls":3},""]
["安装工程",{"$nulls":12},"单位工程(17安装)"]
["电气工程",{"$nulls":12},"分项工程(17安装)"]
["13",null,"030404017001",null,"配电箱","(1)成套配电箱 AL",null,"台",null,{"v":1,"d":"1.000"},{"$nulls":3},""]
["13.1",null,"30402077T",null,"成套配电箱 AL","",null,"台",null,{"v":1,"d":"1.000"},{"$nulls":3},""]
["14",null,"030411003001",null,"桥架","(1)钢制桥架 CT-C-200×150\r\n(2)接地",null,"m",null,{"v":10.58,"d":"10.580"},{"$nulls":3},""]
["14.1",null,"30409065T",null,"钢制桥架 CT-C-200×150","",null,"m",null,{"v":10.58,"d":"10.580"},{"$nulls":3},""]
["15",null,"030413001001",null,"铁构件","(1)电缆桥架支撑架制作、安装",null,"kg",null,{"v":7.63,"d":"7.630"},{"$nulls":3},""]
["15.1",null,"30407003",null,"电缆桥架支撑架制作","",null,"t",null,0.008,{"$nulls":3},""]
["15.2",null,"30407004",null,"电缆桥架支撑架安装","",null,"t",null,0.008,{"$nulls":3},""]
["16",null,"030411001001",null,"配管","(1)焊接钢管 SC20 砖、砼结构明敷设\r\n(2)刷油、防腐、接地",null,"m",null,{"v":182.3,"d":"182.300"},{"$nulls":3},""]
["16.1",null,"30412024",null,"钢管敷设(砖、混凝土结构明配 公称直径≤20mm)","",null,"m",null,{"v":182.3,"d":"182.300"},{"$nulls":3},""]
["17",null,"030411001002",null,"配管","(1)焊接钢管 SC25 砖、砼结构明敷设",null,"m",null,{"v":2.98,"d":"2.980"},{"$nulls":3},""]
["分部分项工程量清单与计价表",{"$nulls":12},""]
["",{"$nulls":12},""]
["工程名称：1号楼6层检验科库房改造",{"$nulls":10},"第3页 共4页",null,""]
["序号",null,"项目编码",null,"项目名称","项目特征描述",null,"计量单位",null,"工程量","金    额(元)",null,null,""]
[{"$nulls":10},"综合单价",null,"合价",""]
["",null,"",null,"","(2)刷油、防腐、接地",null,"",{"$nulls":5},""]
["17.1",null,"30412025",null,"钢管敷设(砖、混凝土结构明配 公称直径≤25mm)","",null,"m",null,{"v":2.98,"d":"2.980"},{"$nulls":3},""]
["18",null,"030413001002",null,"铁构件","(1)一般铁构件制作与安装\r\n(2)防腐油漆",null,"kg",null,{"v":22.98,"d":"22.980"},{"$nulls":3},""]
["18.1",null,"30407005",null,"铁构件制作与安装(一般铁构件制作)","",null,"t",null,0.023,{"$nulls":3},""]
["18.2",null,"30407006",null,"铁构件制作与安装(一般铁构件安装)","",null,"t",null,0.023,{"$nulls":3},""]
["19",null,"030411001003",null,"配管","(1)焊接钢管 SC20 砖、砼结构暗敷设\r\n(2)刷油、防腐、接地",null,"m",null,{"v":50.5,"d":"50.500"},{"$nulls":3},""]
["19.1",null,"30412035",null,"钢管敷设(砖、混凝土结构暗配 公称直径≤20mm)","",null,"m",null,{"v":50.5,"d":"50.500"},{"$nulls":3},""]
["20",null,"030411001004",null,"配管","(1)金属软管敷设 DN20 每根长0.5m\r\n(2)接地",null,"m",null,{"v":5.5,"d":"5.500"},{"$nulls":3},""]
["20.1",null,"30412227T",null,"金属软管敷设(内径≤20mm 每根长≤0.5m)","",null,"m",null,{"v":5.5,"d":"5.500"},{"$nulls":3},""]
["21",null,"030411004001",null,"配线","(1)管内配线 WDZB-BYJ-2.5",null,"m",null,{"v":749.02,"d":"749.020"},{"$nulls":3},""]
["21.1",null,"30413005T",null,"管内配线 WDZB-BYJ-2.5","",null,"单线",null,{"v":749.02,"d":"749.020"},{"$nulls":3},""]
["22",null,"030411004002",null,"配线","(1)管内配线 WDZB-BYJ-4",null,"m",null,{"v":26.85,"d":"26.850"},{"$nulls":3},""]
["22.1",null,"30413005T",null,"管内配线 WDZB-BYJ-4","",null,"单线",null,{"v":26.85,"d":"26.850"},{"$nulls":3},""]
["23",null,"030411004003",null,"配线","(1)槽内配线 WDZB-BYJ-2.5",null,"m",null,{"v":274.8,"d":"274.800"},{"$nulls":3},""]
["23.1",null,"30413095T",null,"槽内配线 WDZB-BYJ-2.5","",null,"单线",null,{"v":274.8,"d":"274.800"},{"$nulls":3},""]
["24",null,"030411004004",null,"配线","(1)槽内配线 WDZB-BYJ-4",null,"m",null,{"v":10.29,"d":"10.290"},{"$nulls":3},""]
["24.1",null,"30413096T",null,"槽内配线 WDZB-BYJ-4","",null,"单线",null,{"v":10.29,"d":"10.290"},{"$nulls":3},""]
["25",null,"030412005001",null,"荧光灯","(1)600×600LED灯盘 36W",null,"套",null,{"v":11,"d":"11.000"},{"$nulls":3},""]
["25.1",null,"30414209T",null,"600×600LED灯盘 36W","",null,"套",null,{"v":11,"d":"11.000"},{"$nulls":3},""]
["26",null,"030404034001",null,"照明开关","(1)单联单控开关 250V/10A",null,"个",null,{"v":2,"d":"2.000"},{"$nulls":3},""]
["26.1",null,"30414284T",null,"单联单控开关 250V/10A","",null,"套",null,{"v":2,"d":"2.000"},{"$nulls":3},""]
["27",null,"030404034002",null,"照明开关","(1)单联双控开关 250V/10A",null,"个",null,{"v":2,"d":"2.000"},{"$nulls":3},""]
["27.1",null,"30414286T",null,"单联双控开关 250V/10A","",null,"套",null,{"v":2,"d":"2.000"},{"$nulls":3},""]
["28",null,"030404035001",null,"插座","(1)二三极五孔插座 250V/10A",null,"个",null,{"v":21,"d":"21.000"},{"$nulls":3},""]
["28.1",null,"30414305T",null,"二三极五孔插座 250V/10A","",null,"套",null,{"v":21,"d":"21.000"},{"$nulls":3},""]
["29",null,"030411006001",null,"接线盒","(1)明装 接线盒",null,"个",null,{"v":37,"d":"37.000"},{"$nulls":3},""]
["29.1",null,"30413194",null,"明装 接线盒","",null,"个",null,{"v":37,"d":"37.000"},{"$nulls":3},""]
["30",null,"030411006002",null,"接线盒","(1)空白面板安装",null,"个",null,{"v":37,"d":"37.000"},{"$nulls":3},""]
["30.1",null,"30414290",null,"空白面板安装","",null,"套",null,{"v":37,"d":"37.000"},{"$nulls":3},""]
["31",null,"030411006003",null,"接线盒","(1)暗装 开关盒",null,"个",null,{"v":25,"d":"25.000"},{"$nulls":3},""]
["分部分项工程量清单与计价表",{"$nulls":12},""]
["",{"$nulls":12},""]
["工程名称：1号楼6层检验科库房改造",{"$nulls":10},"第4页 共4页",null,""]
["序号",null,"项目编码",null,"项目名称","项目特征描述",null,"计量单位",null,"工程量","金    额(元)",null,null,""]
[{"$nulls":10},"综合单价",null,"合价",""]
["31.1",null,"30413192",null,"暗装 开关盒","",null,"个",null,{"v":25,"d":"25.000"},{"$nulls":3},""]
["32",null,"030413002001",null,"凿(压)槽","(1)配管刨沟及恢复 DN20 砖结构",null,"m",null,{"v":50.5,"d":"50.500"},{"$nulls":3},""]
["32.1",null,"31011156",null,"砖结构(宽mm×深mm70×70)","",null,"m",null,{"v":50.5,"d":"50.500"},{"$nulls":3},""]
["合       计",{"$nulls":12},""]

{"sheet":"总价措施项目清单与计价表","index":9,"n_rows":8,"n_cols":5,"rows_kept":8,"merged":[[0,0,0,4],[1,0,1,4],[2,0,2,3],[7,0,7,3]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
[""]
["工程名称：1号楼6层检验科库房改造",{"$nulls":3},"第1页 共1页"]
["序号","项 目 名 称","计 算 基 础\r\n(元)","费    率(%)","金    额(元)"]
["1","安全文明施工费"]
["2","其他总价措施费"]
["3","防尘措施费"]
["合    计"]

{"sheet":"单价措施项目清单与计价表","index":10,"n_rows":15,"n_cols":12,"rows_kept":15,"merged":[[0,0,0,10],[1,0,1,10],[2,0,2,8],[2,9,2,10],[3,0,4,1],[3,2,4,3],[3,4,4,4],[3,5,4,5],[3,6,4,6],[3,7,4,7],[3,8,3,10],[4,8,4,9],[5,0,5,10],[6,0,6,10],[7,0,7,10],[8,0,8,10],[9,0,9,1],[9,2,9,3],[9,8,9,9],[10,0,10,1],[10,2,10,3],[10,8,10,9],[11,0,11,10],[12,0,12,10],[13,0,13,1],[13,2,13,3],[13,8,13,9],[14,0,14,9]],"flags":["formulas_cached_only"]}
["单价措施项目清单与计价表",{"$nulls":10},""]
["",{"$nulls":10},""]
["工程名称：1号楼6层检验科库房改造",{"$nulls":8},"第1页 共1页",null,""]
["序号",null,"项目编码",null,"项目名称","项目特征描述","计量单位","工程量","金    额(元)",null,null,""]
[{"$nulls":8},"综合单价",null,"合价",""]
["单项工程",{"$nulls":10},"单项工程(17房屋建筑与装饰)"]
["房屋建筑与装饰工程",{"$nulls":10},"单位工程(17房屋建筑与装饰)"]
["拆除部分",{"$nulls":10},"分项工程(17房屋建筑与装饰)"]
["装饰",{"$nulls":10},"分项工程(17房屋建筑与装饰)"]
["1",null,"011702009001",null,"过梁模板","","m2",{"v":0.52,"d":"0.520"},{"$nulls":3},""]
["2",null,"081311006001",null,"已完工程及设备保护","","项",{"v":1,"d":"1.000"},{"$nulls":3},""]
["安装工程",{"$nulls":10},"单位工程(17安装)"]
["电气工程",{"$nulls":10},"分项工程(17安装)"]
["3",null,"031301017001",null,"脚手架搭拆","","项",{"v":1,"d":"1.000"},{"$nulls":3},""]
["合       计",{"$nulls":10},""]

{"sheet":"单价措施项目清单与计价表(含定额)","index":11,"n_rows":19,"n_cols":12,"rows_kept":19,"merged":[[0,0,0,10],[1,0,1,10],[2,0,2,8],[2,9,2,10],[3,0,4,1],[3,2,4,3],[3,4,4,4],[3,5,4,5],[3,6,4,6],[3,7,4,7],[3,8,3,10],[4,8,4,9],[5,0,5,10],[6,0,6,10],[7,0,7,10],[8,0,8,10],[9,0,9,1],[9,2,9,3],[9,8,9,9],[10,0,10,1],[10,2,10,3],[10,8,10,9],[11,0,11,1],[11,2,11,3],[11,8,11,9],[12,0,12,1],[12,2,12,3],[12,8,12,9],[13,0,13,10],[14,0,14,10],[15,0,15,1],[15,2,15,3],[15,8,15,9],[16,0,16,1],[16,2,16,3],[16,8,16,9],[17,0,17,1],[17,2,17,3],[17,8,17,9],[18,0,18,9]],"flags":["formulas_cached_only"]}
["单价措施项目清单与计价表",{"$nulls":10},""]
["",{"$nulls":10},""]
["工程名称：1号楼6层检验科库房改造",{"$nulls":8},"第1页 共1页",null,""]
["序号",null,"项目编码",null,"项目名称","项目特征描述","计量单位","工程量","金    额(元)",null,null,""]
[{"$nulls":8},"综合单价",null,"合价",""]
["单项工程",{"$nulls":10},"单项工程(17房屋建筑与装饰)"]
["房屋建筑与装饰工程",{"$nulls":10},"单位工程(17房屋建筑与装饰)"]
["拆除部分",{"$nulls":10},"分项工程(17房屋建筑与装饰)"]
["装饰",{"$nulls":10},"分项工程(17房屋建筑与装饰)"]
["1",null,"011702009001",null,"过梁模板","","m2",{"v":0.52,"d":"0.520"},{"$nulls":3},""]
["1.1",null,"10117052",null,"现浇混凝土胶合板模板(梁 过梁)","","m2",{"v":0.52,"d":"0.520"},{"$nulls":3},""]
["2",null,"081311006001",null,"已完工程及设备保护","","项",{"v":1,"d":"1.000"},{"$nulls":3},""]
["2.1",null,"10117218",null,"地上、地下设施、建筑物的临时保护设施(墙柱面成品、电梯内细木工板保护)","","m2",{"v":19.8,"d":"19.800"},{"$nulls":3},""]
["安装工程",{"$nulls":10},"单位工程(17安装)"]
["电气工程",{"$nulls":10},"分项工程(17安装)"]
["3",null,"031301017001",null,"脚手架搭拆","","项",{"v":1,"d":"1.000"},{"$nulls":3},""]
["3.1",null,"BJ-4",null,"电气设备安装工程脚手架搭拆费","","元",229.068,{"$nulls":3},""]
["3.2",null,"BJ-10",null,"给排水、采暖、燃气工程脚手架搭拆费","","元",21.735,{"$nulls":3},""]
["合       计",{"$nulls":10},""]

{"sheet":"其他项目清单与计价汇总表","index":12,"n_rows":8,"n_cols":4,"rows_kept":8,"merged":[[0,0,0,3],[1,0,1,3],[2,0,2,2],[7,0,7,1]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
[""]
["工程名称：1号楼6层检验科库房改造",null,null,"第1页 共1页"]
["序号","项 目 名 称","金额(元)","备注"]
["1","暂列金额",{"v":2000,"d":"2000.00"},""]
["2","专业工程暂估价",null,""]
["3","总承包服务费",null,""]
["合    计",null,{"v":2000,"d":"2000.00"},"——"]

{"sheet":"暂列金额明细表","index":13,"n_rows":12,"n_cols":5,"rows_kept":12,"merged":[[0,0,0,4],[1,0,1,4],[2,0,2,2],[2,3,2,4],[3,2,3,3],[4,2,4,3],[5,2,5,3],[6,2,6,3],[7,2,7,3],[8,2,8,3],[9,2,9,3],[10,2,10,3],[11,0,11,1],[11,2,11,3]],"flags":["formulas_cached_only"]}
["暂列金额明细表"]
[""]
["工程名称：1号楼6层检验科库房改造",null,null,"第1页 共1页"]
["序号","项 目 名 称","金额(元)",null,"备  注"]
["1","设计变更和现场签证暂列金额",{"v":2000,"d":"2000.00"},null,""]
["2","优质工程增加费",null,null,""]
["3","缩短定额工期增加费",null,null,""]
["4","远程监控系统租赁费",null,null,""]
["5","发包人检测费",null,null,""]
["6","工程噪声超标排污费",null,null,""]
["7","渣土收纳费",null,null,""]
["合    计",null,{"v":2000,"d":"2000.00"},null,"——"]

{"sheet":"专业工程暂估价明细表","index":14,"n_rows":5,"n_cols":5,"rows_kept":5,"merged":[[0,0,0,4],[1,0,1,4],[2,0,2,2],[2,3,2,4],[3,2,3,3],[4,0,4,1],[4,2,4,3]],"flags":["formulas_cached_only"]}
["专业工程暂估价明细表"]
[""]
["工程名称：1号楼6层检验科库房改造",null,null,"第1页 共1页"]
["序号","项 目 名 称","金额(元)",null,"备  注"]
["合    计",{"$nulls":3},"——"]

{"sheet":"总承包服务费计价表","index":15,"n_rows":5,"n_cols":5,"rows_kept":5,"merged":[[0,0,0,4],[1,0,1,4],[2,0,2,3],[4,0,4,3]],"flags":["formulas_cached_only"]}
["总承包服务费计价表"]
[""]
["工程名称：1号楼6层检验科库房改造",{"$nulls":3},"第1页 共1页"]
["序号","项 目 名 称","计算基础(元)","费率(%)","金额(元)"]
["合    计"]

{"sheet":"甲供材料一览表","index":16,"n_rows":5,"n_cols":12,"rows_kept":5,"merged":[[0,0,0,11],[1,0,1,11],[2,0,2,9],[2,10,2,11],[4,0,4,6]],"flags":["formulas_cached_only"]}
["甲供材料一览表"]
[""]
["工程名称：1号楼6层检验科库房改造",{"$nulls":9},"第1页 共1页"]
["序号","工料机编码","工料机名称","规格、型号等特殊要求","单位","数量","单价(元)","合价(元)","质量等级","供应时间","送达地点","备注"]
["甲供材料费合计(元)",{"$nulls":7},"---","---","---","---"]